## Summary
IGF-1 SD-score Tool
(IDS iSYS IGF-1 assay)
Instructions:
Select appropriate gender-specific tab
Select 'Age' cell and add patients age (years) at time of IGF-1 measurement
Select 'IGF-1' cell and add patient's IGF-1 result (in nmol/L, iSYS assay)
The IGF-1 SD score (or 'Z-score') and percentile relative to a healthy reference population will be calculated and plotted on the reference range chart
Reference range data published by Bidlingmaier et al.1 (reference population of 15,014 subjects)
Cumulative results and scores can be plotted using the gender-specific 'CUMULATIVE' tabs
Percentiles for IGF-1 according to Tanner Stage are shown in the TANNER STAGE tab
1. Bidlingmaier et al. J Clin Endocrinol Metab 2014; 99:1712–21
IGF-1 SD-score Tool developed by Dr Chris Boot, Blood Sciences, Newcastle upon Tyne Hospitals (29.09.15)
christopher.boot@nuth.nhs.uk

## MALES
IGF-1 SD Tool (IDS iSYS assay)
[5 empty] | ng/mL |  | ng/mL |  | ng/mL |  |  | pmol/L
Age (yrs) | IGF1 (nmol/L) | SD-score | Percentile | Age | µ | σ | pt μ | pt σ | 2.5th | 50th | 97.5th | 2.5th | 50th | 97.5th
|  | -5.1364 | 1.4001e-05 | 0 | 77.3625 | 0.4262 | 77.3625 | 0.4262 | 27 | 77.4 | 157 | 3.5294 | 10.1176 | 20.5229
|  |  |  | 1 | 83.0813 | 0.4187 |  |  | 29.7 | 83.1 | 166.8 | 3.8824 | 10.8627 | 21.8039
|  |  |  | 2 | 92.5995 | 0.4113 |  |  | 33.9 | 92.6 | 183.9 | 4.4314 | 12.1046 | 24.0392
|  |  |  | 3 | 104.0358 | 0.4038 |  |  | 39 | 104 | 204.5 | 5.098 | 13.5948 | 26.732
|  |  |  | 4 | 115.73 | 0.3964 |  | λ | 44.3 | 115.7 | 225 | 5.7908 | 15.1242 | 29.4118
|  |  |  | 5 | 127.61 | 0.389 | Male | 0.4568 | 50 | 127.6 | 245.5 | 6.5359 | 16.6797 | 32.0915
|  |  |  | 6 | 140.36 | 0.3817 |  |  | 56.2 | 140.4 | 267.1 | 7.3464 | 18.3529 | 34.915
|  |  |  | 7 | 155.03 | 0.3744 |  |  | 63.4 | 155 | 291.9 | 8.2876 | 20.2614 | 38.1569
|  |  |  | 8 | 173.38 | 0.3673 |  |  | 72.4 | 173.4 | 323.1 | 9.4641 | 22.6667 | 42.2353
|  |  |  | 9 | 193.13 | 0.3602 |  |  | 83.6 | 196.1 | 361.6 | 10.9281 | 25.634 | 47.268
|  |  |  | 10 | 222.81 | 0.3532 |  |  | 96.9 | 222.8 | 406.6 | 12.6667 | 29.1242 | 53.1503
|  |  |  | 11 | 251.57 | 0.3463 |  |  | 111.6 | 251.6 | 454.4 | 14.5882 | 32.8889 | 59.3987
|  |  |  | 12 | 278.88 | 0.3396 |  |  | 126.1 | 278.9 | 498.7 | 16.4837 | 36.4575 | 65.1895
|  |  |  | 13 | 300.78 | 0.333 |  |  | 138.6 | 300.8 | 532.5 | 18.1176 | 39.3203 | 69.6078
|  |  |  | 14 | 314.43 | 0.3265 |  |  | 147.5 | 314.4 | 551.2 | 19.281 | 41.098 | 72.0523
|  |  |  | 15 | 318.7692 | 0.3202 |  |  | 152.2 | 318.8 | 553.5 | 19.8954 | 41.6732 | 72.3529
|  |  |  | 16 | 314.9775 | 0.3141 |  |  | 152.9 | 315 | 541.8 | 19.9869 | 41.1765 | 70.8235
|  |  |  | 17 | 305.3809 | 0.3082 |  |  | 150.6 | 305.4 | 520.6 | 19.6863 | 39.9216 | 68.0523
|  |  |  | 18 | 292.0343 | 0.3026 |  |  | 146.2 | 292 | 493.6 | 19.1111 | 38.1699 | 64.5229
|  |  |  | 19 | 276.0573 | 0.2972 |  |  | 140.2 | 276.1 | 462.7 | 18.3268 | 36.0915 | 60.4837
|  |  |  | 20 | 258.5452 | 0.2922 |  |  | 133.1 | 258.5 | 430 | 17.3987 | 33.7908 | 56.2092
|  |  |  | 21 | 240.7836 | 0.2874 |  |  | 125.5 | 240.8 | 397.5 | 16.4052 | 31.4771 | 51.9608
|  |  |  | 22 | 224.3658 | 0.283 |  |  | 118.4 | 224.4 | 367.8 | 15.4771 | 29.3333 | 48.0784
|  |  |  | 23 | 210.7696 | 0.2788 |  |  | 112.4 | 210.8 | 343.3 | 14.6928 | 27.5556 | 44.8758
Reference range data published by Bidlingmaier et al.1 (reference population of 15,014 subjects) |  |  |  | 24 | 200.1359 | 0.2751 |  |  | 107.8 | 200.1 | 324.1 | 14.0915 | 26.1569 | 42.366
1. Bidlingmaier et al. J Clin Endocrinol Metab 2014; 99:1712–21 |  |  |  | 25 | 191.8168 | 0.2716 |  |  | 104.2 | 191.8 | 308.9 | 13.6209 | 25.0719 | 40.3791
|  |  |  | 26 | 185.1544 | 0.2685 |  |  | 101.4 | 185.2 | 296.7 | 13.2549 | 24.2092 | 38.7843
|  |  |  | 27 | 179.4904 | 0.2657 |  |  | 99 | 179.5 | 286.4 | 12.9412 | 23.4641 | 37.4379
|  |  |  | 28 | 174.258 | 0.2633 |  |  | 96.7 | 174.3 | 277 | 12.6405 | 22.7843 | 36.2092
|  |  |  | 29 | 169.3824 | 0.2612 |  |  | 94.5 | 169.4 | 268.3 | 12.3529 | 22.1438 | 35.0719
|  |  |  | 30 | 164.9548 | 0.2595 |  |  | 92.5 | 165 | 260.6 | 12.0915 | 21.5686 | 34.0654
|  |  |  | 31 | 161.0661 | 0.2581 |  |  | 90.6 | 161.1 | 253.9 | 11.8431 | 21.0588 | 33.1895
|  |  |  | 32 | 157.8078 | 0.257 |  |  | 89 | 157.8 | 248.3 | 11.634 | 20.6275 | 32.4575
|  |  |  | 33 | 155.2668 | 0.2563 |  |  | 87.8 | 155.3 | 244 | 11.4771 | 20.3007 | 31.8954
|  |  |  | 34 | 153.3742 | 0.2559 |  |  | 86.8 | 153.4 | 240.9 | 11.3464 | 20.0523 | 31.4902
|  |  |  | 35 | 151.8582 | 0.2558 |  |  | 85.9 | 151.9 | 238.5 | 11.2288 | 19.8562 | 31.1765
|  |  |  | 36 | 150.4335 | 0.2561 |  |  | 85.1 | 150.4 | 236.4 | 11.1242 | 19.6601 | 30.902
|  |  |  | 37 | 148.8145 | 0.2567 |  |  | 84 | 148.8 | 234.1 | 10.9804 | 19.451 | 30.6013
|  |  |  | 38 | 146.7885 | 0.2576 |  |  | 82.7 | 146.8 | 231.2 | 10.8105 | 19.1895 | 30.2222
|  |  |  | 39 | 144.432 | 0.2589 |  |  | 81.1 | 144.4 | 228 | 10.6013 | 18.8758 | 29.8039
|  |  |  | 40 | 141.8943 | 0.2604 |  |  | 79.4 | 141.9 | 224.5 | 10.3791 | 18.549 | 29.3464
|  |  |  | 41 | 139.3244 | 0.2622 |  |  | 77.6 | 139.3 | 221.1 | 10.1438 | 18.2092 | 28.902
|  |  |  | 42 | 136.8696 | 0.2643 |  |  | 75.8 | 136.9 | 217.9 | 9.9085 | 17.8954 | 28.4837
|  |  |  | 43 | 134.5977 | 0.2666 |  |  | 74.1 | 134.6 | 215.1 | 9.6863 | 17.5948 | 28.1176
|  |  |  | 44 | 132.4735 | 0.2692 |  |  | 72.4 | 132.5 | 212.5 | 9.4641 | 17.3203 | 27.7778
|  |  |  | 45 | 130.4551 | 0.272 |  |  | 70.8 | 130.5 | 210.2 | 9.2549 | 17.0588 | 27.4771
|  |  |  | 46 | 128.5116 | 0.275 |  |  | 69.2 | 128.5 | 208.1 | 9.0458 | 16.7974 | 27.2026
|  |  |  | 47 | 126.645 | 0.2782 |  |  | 67.7 | 126.6 | 206.1 | 8.8497 | 16.549 | 26.9412
|  |  |  | 48 | 124.8634 | 0.2815 |  |  | 66.1 | 124.9 | 204.2 | 8.6405 | 16.3268 | 26.6928
|  |  |  | 49 | 123.1915 | 0.2849 |  |  | 64.7 | 123.2 | 202.6 | 8.4575 | 16.1046 | 26.4837
|  |  |  | 50 | 121.7211 | 0.2885 |  |  | 63.3 | 121.7 | 201.3 | 8.2745 | 15.9085 | 26.3137
|  |  |  | 51 | 120.5603 | 0.2922 |  |  | 62.1 | 120.6 | 200.5 | 8.1176 | 15.7647 | 26.2092
|  |  |  | 52 | 119.7419 | 0.2958 |  |  | 61.1 | 119.7 | 200.3 | 7.9869 | 15.6471 | 26.183
|  |  |  | 53 | 118.9955 | 0.2996 |  |  | 60.1 | 119 | 200.2 | 7.8562 | 15.5556 | 26.1699
|  |  |  | 54 | 117.9755 | 0.3033 |  |  | 59 | 118 | 199.6 | 7.7124 | 15.4248 | 26.0915
|  |  |  | 55 | 116.4865 | 0.307 |  |  | 57.6 | 116.5 | 198.2 | 7.5294 | 15.2288 | 25.9085
|  |  |  | 56 | 114.7806 | 0.3107 |  |  | 56.2 | 114.8 | 196.4 | 7.3464 | 15.0065 | 25.6732
|  |  |  | 57 | 113.1927 | 0.3143 |  |  | 54.9 | 113.2 | 194.8 | 7.1765 | 14.7974 | 25.4641
|  |  |  | 58 | 111.9963 | 0.3179 |  |  | 53.8 | 112 | 193.8 | 7.0327 | 14.6405 | 25.3333
|  |  |  | 59 | 111.0103 | 0.3215 |  |  | 52.8 | 111 | 193.1 | 6.902 | 14.5098 | 25.2418
|  |  |  | 60 | 109.8503 | 0.325 |  |  | 51.7 | 109.9 | 192.1 | 6.7582 | 14.366 | 25.1111
|  |  |  | 61 | 108.2278 | 0.3284 |  |  | 50.5 | 108.2 | 190.3 | 6.6013 | 14.1438 | 24.8758
|  |  |  | 62 | 106.5726 | 0.3318 |  |  | 49.3 | 106.6 | 188.3 | 6.4444 | 13.9346 | 24.6144
|  |  |  | 63 | 105.6364 | 0.3351 |  |  | 48.4 | 105.6 | 187.6 | 6.3268 | 13.8039 | 24.5229
|  |  |  | 64 | 106.0046 | 0.3384 |  |  | 48.1 | 106 | 189.2 | 6.2876 | 13.8562 | 24.732
|  |  |  | 65 | 107.0249 | 0.3416 |  |  | 48.1 | 107 | 191.9 | 6.2876 | 13.9869 | 25.085
|  |  |  | 66 | 107.4902 | 0.3447 |  |  | 47.9 | 107.5 | 193.7 | 6.2614 | 14.0523 | 25.3203
|  |  |  | 67 | 106.6026 | 0.3478 |  |  | 47.1 | 106.6 | 193 | 6.1569 | 13.9346 | 25.2288
|  |  |  | 68 | 104.7878 | 0.3507 |  |  | 45.9 | 104.8 | 190.5 | 6 | 13.6993 | 24.902
|  |  |  | 69 | 102.6945 | 0.3536 |  |  | 44.6 | 102.7 | 187.5 | 5.8301 | 13.4248 | 24.5098
|  |  |  | 70 | 100.7466 | 0.3565 |  |  | 43.4 | 100.7 | 184.7 | 5.6732 | 13.1634 | 24.1438
|  |  |  | 71 | 98.9861 | 0.3593 |  |  | 42.3 | 99 | 182.3 | 5.5294 | 12.9412 | 23.8301
|  |  |  | 72 | 97.4183 | 0.362 |  |  | 41.3 | 97.4 | 180.1 | 5.3987 | 12.732 | 23.5425
|  |  |  | 73 | 96.0449 | 0.3647 |  |  | 40.4 | 96 | 178.3 | 5.281 | 12.549 | 23.3072
|  |  |  | 74 | 94.8333 | 0.3673 |  |  | 39.6 | 94.8 | 176.7 | 5.1765 | 12.3922 | 23.098
|  |  |  | 75 | 93.7305 | 0.3699 |  |  | 38.9 | 93.7 | 175.3 | 5.085 | 12.2484 | 22.915
|  |  |  | 76 | 92.6834 | 0.3724 |  |  | 38.1 | 92.7 | 174 | 4.9804 | 12.1176 | 22.7451
|  |  |  | 77 | 91.6387 | 0.375 |  |  | 37.4 | 91.6 | 172.7 | 4.8889 | 11.9739 | 22.5752
|  |  |  | 78 | 90.5583 | 0.3775 |  |  | 36.7 | 90.6 | 171.3 | 4.7974 | 11.8431 | 22.3922
|  |  |  | 79 | 89.4648 | 0.3799 |  |  | 36 | 89.5 | 169.8 | 4.7059 | 11.6993 | 22.1961
|  |  |  | 80 | 88.3959 | 0.3824 |  |  | 35.3 | 88.4 | 168.4 | 4.6144 | 11.5556 | 22.0131
|  |  |  | 81 | 87.3892 | 0.3848 |  |  | 34.7 | 87.4 | 167.1 | 4.5359 | 11.4248 | 21.8431
|  |  |  | 82 | 86.4825 | 0.3873 |  |  | 34.1 | 86.5 | 165.9 | 4.4575 | 11.3072 | 21.6863
|  |  |  | 83 | 85.7133 | 0.3897 |  |  | 33.5 | 85.7 | 165 | 4.3791 | 11.2026 | 21.5686
|  |  |  | 84 | 85.1194 | 0.392 |  |  | 33 | 85.1 | 164.5 | 4.3137 | 11.1242 | 21.5033
|  |  |  | 85 | 84.7384 | 0.3944 |  |  | 32.7 | 84.7 | 164.3 | 4.2745 | 11.0719 | 21.4771
|  |  |  | 86 | 84.608 | 0.3968 |  |  | 32.4 | 84.6 | 164.6 | 4.2353 | 11.0588 | 21.5163
|  |  |  | 87 | 84.766 | 0.3991 |  |  | 32.2 | 84.8 | 165.5 | 4.2092 | 11.085 | 21.634
|  |  |  | 88 | 85.2499 | 0.4015 |  |  | 32.2 | 85.2 | 167 | 4.2092 | 11.1373 | 21.8301
|  |  |  | 89 | 86.0975 | 0.4038 |  |  | 32.2 | 86.1 | 169.2 | 4.2092 | 11.2549 | 22.1176
|  |  |  | 90 | 87.3464 | 0.4062 |  |  | 32.5 | 87.3 | 172.2 | 4.2484 | 11.4118 | 22.5098

## FEMALES
IGF-1 SD Tool (IDS iSYS assay)
[5 empty] | ng/mL |  | ng/mL |  | ng/mL |  |  | pmol/L
Age (yrs) | IGF1 (nmol/L) | SD-score | Percentile | Age | µ | σ | pt μ | pt σ | 2.5th | 50th | 97.5th | 2.5th | 50th | 97.5th
|  | -4.6681 | 0.00015198 | 0 | 58.5742 | 0.4662 | 58.5742 | 0.4662 | 17.9 | 58.6 | 125.6 | 2.3399 | 7.6601 | 16.4183
|  |  |  | 1 | 62.3128 | 0.4589 |  |  | 19.5 | 62.3 | 132.3 | 2.549 | 8.1438 | 17.2941
|  |  |  | 2 | 69.1965 | 0.4516 |  |  | 22.2 | 69.2 | 145.4 | 2.902 | 9.0458 | 19.0065
|  |  |  | 3 | 78.9225 | 0.4444 |  |  | 25.9 | 78.9 | 164.2 | 3.3856 | 10.3137 | 21.4641
|  |  |  | 4 | 91.1878 | 0.4371 |  | λ | 30.7 | 91.2 | 187.8 | 4.0131 | 11.9216 | 24.549
|  |  |  | 5 | 105.1525 | 0.4299 | Female | 0.4595 | 36.2 | 105.2 | 214.4 | 4.732 | 13.7516 | 28.0261
|  |  |  | 6 | 119.136 | 0.4227 |  |  | 42 | 119.1 | 240.4 | 5.4902 | 15.5686 | 31.4248
|  |  |  | 7 | 134.9677 | 0.4156 |  |  | 48.6 | 135 | 269.6 | 6.3529 | 17.6471 | 35.2418
|  |  |  | 8 | 154.3755 | 0.4085 |  |  | 56.9 | 154.4 | 305.3 | 7.4379 | 20.183 | 39.9085
|  |  |  | 9 | 178.4732 | 0.4015 |  |  | 67.2 | 178.5 | 349.4 | 8.7843 | 23.3333 | 45.6732
|  |  |  | 10 | 206.5732 | 0.3945 |  |  | 79.5 | 206.6 | 400.3 | 10.3922 | 27.0065 | 52.3268
|  |  |  | 11 | 235.8698 | 0.3877 |  |  | 92.6 | 235.9 | 452.6 | 12.1046 | 30.8366 | 59.1634
|  |  |  | 12 | 262.6764 | 0.3809 |  |  | 105.3 | 262.7 | 499.1 | 13.7647 | 34.3399 | 65.2418
|  |  |  | 13 | 283.4969 | 0.3742 |  |  | 115.9 | 283.5 | 533.4 | 15.1503 | 37.0588 | 69.7255
|  |  |  | 14 | 296.2184 | 0.3677 |  |  | 123.4 | 296.2 | 552 | 16.1307 | 38.719 | 72.1569
|  |  |  | 15 | 300.1497 | 0.3614 |  |  | 127.4 | 300.1 | 554.2 | 16.6536 | 39.2288 | 72.4444
|  |  |  | 16 | 295.9452 | 0.3553 |  |  | 127.9 | 295.9 | 541.5 | 16.719 | 38.6797 | 70.7843
|  |  |  | 17 | 285.1932 | 0.3495 |  |  | 125.3 | 285.2 | 517.3 | 16.3791 | 37.281 | 67.6209
|  |  |  | 18 | 270.0078 | 0.344 |  |  | 120.5 | 270 | 485.8 | 15.7516 | 35.2941 | 63.5033
|  |  |  | 19 | 252.5661 | 0.3387 |  |  | 114.4 | 252.6 | 450.8 | 14.9542 | 33.0196 | 58.9281
|  |  |  | 20 | 234.7593 | 0.3338 |  |  | 107.8 | 234.8 | 416 | 14.0915 | 30.6928 | 54.3791
|  |  |  | 21 | 217.8054 | 0.3293 |  |  | 101.3 | 217.8 | 383.3 | 13.2418 | 28.4706 | 50.1046
|  |  |  | 22 | 202.7542 | 0.325 |  |  | 95.4 | 202.8 | 354.5 | 12.4706 | 26.5098 | 46.3399
|  |  |  | 23 | 190.3365 | 0.3211 |  |  | 90.6 | 190.3 | 330.8 | 11.8431 | 24.8758 | 43.2418
Reference range data published by Bidlingmaier et al.1 (reference population of 15,014 subjects) |  |  |  | 24 | 180.3341 | 0.3175 |  |  | 86.7 | 180.3 | 311.7 | 11.3333 | 23.5686 | 40.7451
1. Bidlingmaier et al. J Clin Endocrinol Metab 2014; 99:1712–21 |  |  |  | 25 | 172.353 | 0.3142 |  |  | 83.6 | 172.4 | 296.4 | 10.9281 | 22.5359 | 38.7451
|  |  |  | 26 | 165.9996 | 0.3112 |  |  | 81.1 | 166 | 284.2 | 10.6013 | 21.6993 | 37.1503
|  |  |  | 27 | 160.88 | 0.3085 |  |  | 79.2 | 160.9 | 274.3 | 10.3529 | 21.0327 | 35.8562
|  |  |  | 28 | 156.6262 | 0.3061 |  |  | 77.6 | 156.6 | 266.1 | 10.1438 | 20.4706 | 34.7843
|  |  |  | 29 | 153.0603 | 0.304 |  |  | 76.3 | 153.1 | 259.2 | 9.9739 | 20.0131 | 33.8824
|  |  |  | 30 | 150.0895 | 0.3022 |  |  | 75.2 | 150.1 | 253.4 | 9.8301 | 19.6209 | 33.1242
|  |  |  | 31 | 147.6216 | 0.3007 |  |  | 74.2 | 147.6 | 248.7 | 9.6993 | 19.2941 | 32.5098
|  |  |  | 32 | 145.5642 | 0.2994 |  |  | 73.5 | 145.6 | 244.7 | 9.6078 | 19.0327 | 31.9869
|  |  |  | 33 | 143.824 | 0.2983 |  |  | 72.8 | 143.8 | 241.4 | 9.5163 | 18.7974 | 31.5556
|  |  |  | 34 | 142.2694 | 0.2975 |  |  | 72.2 | 142.3 | 238.5 | 9.4379 | 18.6013 | 31.1765
|  |  |  | 35 | 140.719 | 0.2969 |  |  | 71.5 | 140.7 | 235.7 | 9.3464 | 18.3922 | 30.8105
|  |  |  | 36 | 138.9879 | 0.2966 |  |  | 70.7 | 139 | 232.7 | 9.2418 | 18.1699 | 30.4183
|  |  |  | 37 | 136.8914 | 0.2964 |  |  | 69.6 | 136.9 | 229.1 | 9.098 | 17.8954 | 29.9477
|  |  |  | 38 | 134.283 | 0.2965 |  |  | 68.3 | 134.3 | 224.7 | 8.9281 | 17.5556 | 29.3725
|  |  |  | 39 | 131.2994 | 0.2967 |  |  | 66.7 | 131.3 | 219.8 | 8.719 | 17.1634 | 28.732
|  |  |  | 40 | 128.2041 | 0.2971 |  |  | 65.1 | 128.2 | 214.8 | 8.5098 | 16.7582 | 28.0784
|  |  |  | 41 | 125.2615 | 0.2978 |  |  | 63.5 | 125.3 | 210.1 | 8.3007 | 16.3791 | 27.4641
|  |  |  | 42 | 122.7313 | 0.2986 |  |  | 62.1 | 122.7 | 206.1 | 8.1176 | 16.0392 | 26.9412
|  |  |  | 43 | 120.7066 | 0.2995 |  |  | 60.9 | 120.7 | 203 | 7.9608 | 15.7778 | 26.5359
|  |  |  | 44 | 119.0635 | 0.3007 |  |  | 59.9 | 119.1 | 200.6 | 7.8301 | 15.5686 | 26.2222
|  |  |  | 45 | 117.664 | 0.302 |  |  | 59 | 117.7 | 198.6 | 7.7124 | 15.3856 | 25.9608
|  |  |  | 46 | 116.3715 | 0.3035 |  |  | 58.1 | 116.4 | 196.9 | 7.5948 | 15.2157 | 25.7386
|  |  |  | 47 | 115.1267 | 0.3051 |  |  | 57.2 | 115.1 | 195.3 | 7.4771 | 15.0458 | 25.5294
|  |  |  | 48 | 113.9699 | 0.3068 |  |  | 56.4 | 114 | 193.8 | 7.3725 | 14.902 | 25.3333
|  |  |  | 49 | 112.9479 | 0.3087 |  |  | 55.6 | 112.9 | 192.6 | 7.268 | 14.7582 | 25.1765
|  |  |  | 50 | 112.1062 | 0.3108 |  |  | 54.9 | 112.1 | 191.8 | 7.1765 | 14.6536 | 25.0719
|  |  |  | 51 | 111.3735 | 0.3129 |  |  | 54.2 | 111.4 | 191.2 | 7.085 | 14.5621 | 24.9935
|  |  |  | 52 | 110.4809 | 0.3152 |  |  | 53.4 | 110.5 | 190.3 | 6.9804 | 14.4444 | 24.8758
|  |  |  | 53 | 109.14 | 0.3175 |  |  | 52.4 | 109.1 | 188.7 | 6.8497 | 14.2614 | 24.6667
|  |  |  | 54 | 107.0715 | 0.3199 |  |  | 51.1 | 107.1 | 185.8 | 6.6797 | 14 | 24.2876
|  |  |  | 55 | 104.339 | 0.3224 |  |  | 49.5 | 104.3 | 181.7 | 6.4706 | 13.634 | 23.7516
|  |  |  | 56 | 101.4518 | 0.325 |  |  | 47.7 | 101.5 | 177.4 | 6.2353 | 13.268 | 23.1895
|  |  |  | 57 | 98.949 | 0.3276 |  |  | 46.2 | 98.9 | 173.7 | 6.0392 | 12.9281 | 22.7059
|  |  |  | 58 | 97.3475 | 0.3303 |  |  | 45.2 | 97.3 | 171.6 | 5.9085 | 12.719 | 22.4314
|  |  |  | 59 | 96.6555 | 0.3329 |  |  | 44.5 | 96.7 | 171 | 5.817 | 12.6405 | 22.3529
|  |  |  | 60 | 96.3725 | 0.3357 |  |  | 44 | 96.4 | 171.2 | 5.7516 | 12.6013 | 22.3791
|  |  |  | 61 | 95.9758 | 0.3384 |  |  | 43.5 | 96 | 171.2 | 5.6863 | 12.549 | 22.3791
|  |  |  | 62 | 94.9536 | 0.3411 |  |  | 42.7 | 95 | 170.1 | 5.5817 | 12.4183 | 22.2353
|  |  |  | 63 | 93.2232 | 0.3438 |  |  | 41.6 | 93.2 | 167.7 | 5.4379 | 12.183 | 21.9216
|  |  |  | 64 | 91.2588 | 0.3466 |  |  | 40.4 | 91.3 | 164.8 | 5.281 | 11.9346 | 21.5425
|  |  |  | 65 | 89.5719 | 0.3493 |  |  | 39.4 | 89.6 | 162.4 | 5.1503 | 11.7124 | 21.2288
|  |  |  | 66 | 88.655 | 0.352 |  |  | 38.7 | 88.7 | 161.4 | 5.0588 | 11.5948 | 21.098
|  |  |  | 67 | 88.5675 | 0.3546 |  |  | 38.3 | 88.6 | 161.9 | 5.0065 | 11.5817 | 21.1634
|  |  |  | 68 | 88.9358 | 0.3573 |  |  | 38.2 | 88.9 | 163.2 | 4.9935 | 11.6209 | 21.3333
|  |  |  | 69 | 89.3673 | 0.3599 |  |  | 38.1 | 89.4 | 164.6 | 4.9804 | 11.6863 | 21.5163
|  |  |  | 70 | 89.481 | 0.3624 |  |  | 37.9 | 89.5 | 165.5 | 4.9542 | 11.6993 | 21.634
|  |  |  | 71 | 89.163 | 0.365 |  |  | 37.5 | 89.2 | 165.5 | 4.902 | 11.6601 | 21.634
|  |  |  | 72 | 88.5662 | 0.3675 |  |  | 36.9 | 88.6 | 165 | 4.8235 | 11.5817 | 21.5686
|  |  |  | 73 | 87.8554 | 0.37 |  |  | 36.4 | 87.9 | 164.3 | 4.7582 | 11.4902 | 21.4771
|  |  |  | 74 | 87.1952 | 0.3725 |  |  | 35.8 | 87.2 | 163.6 | 4.6797 | 11.3987 | 21.3856
|  |  |  | 75 | 86.746 | 0.375 |  |  | 35.4 | 86.7 | 163.4 | 4.6275 | 11.3333 | 21.3595
|  |  |  | 76 | 86.5684 | 0.3774 |  |  | 35.1 | 86.6 | 163.7 | 4.5882 | 11.3203 | 21.3987
|  |  |  | 77 | 86.6232 | 0.3799 |  |  | 34.8 | 86.6 | 164.3 | 4.549 | 11.3203 | 21.4771
|  |  |  | 78 | 86.8669 | 0.3823 |  |  | 34.7 | 86.9 | 165.4 | 4.5359 | 11.3595 | 21.6209
|  |  |  | 79 | 87.2562 | 0.3848 |  |  | 34.6 | 87.3 | 166.7 | 4.5229 | 11.4118 | 21.7908
|  |  |  | 80 | 87.7474 | 0.3872 |  |  | 34.5 | 87.7 | 168.3 | 4.5098 | 11.4641 | 22
|  |  |  | 81 | 88.2973 | 0.3897 |  |  | 34.5 | 88.3 | 169.9 | 4.5098 | 11.5425 | 22.2092
|  |  |  | 82 | 88.8623 | 0.3921 |  |  | 34.4 | 88.9 | 171.6 | 4.4967 | 11.6209 | 22.4314
|  |  |  | 83 | 89.3989 | 0.3945 |  |  | 34.4 | 89.4 | 173.3 | 4.4967 | 11.6863 | 22.6536
|  |  |  | 84 | 89.8636 | 0.3969 |  |  | 34.3 | 89.9 | 174.8 | 4.4837 | 11.7516 | 22.8497
|  |  |  | 85 | 90.2131 | 0.3994 |  |  | 34.2 | 90.2 | 176.1 | 4.4706 | 11.7908 | 23.0196
|  |  |  | 86 | 90.4039 | 0.4018 |  |  | 34 | 90.4 | 177 | 4.4444 | 11.817 | 23.1373
|  |  |  | 87 | 90.3924 | 0.4042 |  |  | 33.8 | 90.4 | 177.6 | 4.4183 | 11.817 | 23.2157
|  |  |  | 88 | 90.1352 | 0.4066 |  |  | 33.4 | 90.1 | 177.8 | 4.366 | 11.7778 | 23.2418
|  |  |  | 89 | 89.5889 | 0.4091 |  |  | 33 | 89.6 | 177.3 | 4.3137 | 11.7124 | 23.1765
|  |  |  | 90 | 88.71 | 0.4115 |  |  | 32.4 | 88.7 | 176.2 | 4.2353 | 11.5948 | 23.0327

## MALES CUMULATIVE
IGF-1 SD Tool (IDS iSYS assay)
[5 empty] | ng/mL |  | ng/mL |  | ng/mL |  |  | pmol/L
Age (yrs) | IGF1 (nmol/L) | SD-score | Percentile | Age | µ | σ | pt μ | pt σ | 2.5th | 50th | 97.5th | 2.5th | 50th | 97.5th
|  | -5.1364 | 1.4001e-05 | 0 | 77.3625 | 0.4262 | 77.3625 | 0.4262 | 27 | 77.4 | 157 | 3.5294 | 10.1176 | 20.5229
|  | -5.1364 | 1.4001e-05 | 1 | 83.0813 | 0.4187 | 77.3625 | 0.4262 | 29.7 | 83.1 | 166.8 | 3.8824 | 10.8627 | 21.8039
|  | -5.1364 | 1.4001e-05 | 2 | 92.5995 | 0.4113 | 77.3625 | 0.4262 | 33.9 | 92.6 | 183.9 | 4.4314 | 12.1046 | 24.0392
|  | -5.1364 | 1.4001e-05 | 3 | 104.0358 | 0.4038 | 77.3625 | 0.4262 | 39 | 104 | 204.5 | 5.098 | 13.5948 | 26.732
|  | -5.1364 | 1.4001e-05 | 4 | 115.73 | 0.3964 | 77.3625 | 0.4262 | 44.3 | 115.7 | 225 | 5.7908 | 15.1242 | 29.4118
|  | -5.1364 | 1.4001e-05 | 5 | 127.61 | 0.389 | 77.3625 | 0.4262 | 50 | 127.6 | 245.5 | 6.5359 | 16.6797 | 32.0915
|  | -5.1364 | 1.4001e-05 | 6 | 140.36 | 0.3817 | 77.3625 | 0.4262 | 56.2 | 140.4 | 267.1 | 7.3464 | 18.3529 | 34.915
|  | -5.1364 | 1.4001e-05 | 7 | 155.03 | 0.3744 | 77.3625 | 0.4262 | 63.4 | 155 | 291.9 | 8.2876 | 20.2614 | 38.1569
|  | -5.1364 | 1.4001e-05 | 8 | 173.38 | 0.3673 | 77.3625 | 0.4262 | 72.4 | 173.4 | 323.1 | 9.4641 | 22.6667 | 42.2353
|  | -5.1364 | 1.4001e-05 | 9 | 193.13 | 0.3602 | 77.3625 | 0.4262 | 83.6 | 196.1 | 361.6 | 10.9281 | 25.634 | 47.268
|  | -5.1364 | 1.4001e-05 | 10 | 222.81 | 0.3532 | 77.3625 | 0.4262 | 96.9 | 222.8 | 406.6 | 12.6667 | 29.1242 | 53.1503
|  | -5.1364 | 1.4001e-05 | 11 | 251.57 | 0.3463 | 77.3625 | 0.4262 | 111.6 | 251.6 | 454.4 | 14.5882 | 32.8889 | 59.3987
|  | -5.1364 | 1.4001e-05 | 12 | 278.88 | 0.3396 | 77.3625 | 0.4262 | 126.1 | 278.9 | 498.7 | 16.4837 | 36.4575 | 65.1895
|  | -5.1364 | 1.4001e-05 | 13 | 300.78 | 0.333 | 77.3625 | 0.4262 | 138.6 | 300.8 | 532.5 | 18.1176 | 39.3203 | 69.6078
|  | -5.1364 | 1.4001e-05 | 14 | 314.43 | 0.3265 | 77.3625 | 0.4262 | 147.5 | 314.4 | 551.2 | 19.281 | 41.098 | 72.0523
|  | -5.1364 | 1.4001e-05 | 15 | 318.7692 | 0.3202 | 77.3625 | 0.4262 | 152.2 | 318.8 | 553.5 | 19.8954 | 41.6732 | 72.3529
|  | -5.1364 | 1.4001e-05 | 16 | 314.9775 | 0.3141 | 77.3625 | 0.4262 | 152.9 | 315 | 541.8 | 19.9869 | 41.1765 | 70.8235
|  | -5.1364 | 1.4001e-05 | 17 | 305.3809 | 0.3082 | 77.3625 | 0.4262 | 150.6 | 305.4 | 520.6 | 19.6863 | 39.9216 | 68.0523
|  | -5.1364 | 1.4001e-05 | 18 | 292.0343 | 0.3026 | 77.3625 | 0.4262 | 146.2 | 292 | 493.6 | 19.1111 | 38.1699 | 64.5229
|  | -5.1364 | 1.4001e-05 | 19 | 276.0573 | 0.2972 | 77.3625 | 0.4262 | 140.2 | 276.1 | 462.7 | 18.3268 | 36.0915 | 60.4837
|  | -5.1364 | 1.4001e-05 | 20 | 258.5452 | 0.2922 | 77.3625 | 0.4262 | 133.1 | 258.5 | 430 | 17.3987 | 33.7908 | 56.2092
|  | -5.1364 | 1.4001e-05 | 21 | 240.7836 | 0.2874 | 77.3625 | 0.4262 | 125.5 | 240.8 | 397.5 | 16.4052 | 31.4771 | 51.9608
|  | -5.1364 | 1.4001e-05 | 22 | 224.3658 | 0.283 | 77.3625 | 0.4262 | 118.4 | 224.4 | 367.8 | 15.4771 | 29.3333 | 48.0784
|  | -5.1364 | 1.4001e-05 | 23 | 210.7696 | 0.2788 | 77.3625 | 0.4262 | 112.4 | 210.8 | 343.3 | 14.6928 | 27.5556 | 44.8758
|  | -5.1364 | 1.4001e-05 | 24 | 200.1359 | 0.2751 | 77.3625 | 0.4262 | 107.8 | 200.1 | 324.1 | 14.0915 | 26.1569 | 42.366
|  | -5.1364 | 1.4001e-05 | 25 | 191.8168 | 0.2716 | 77.3625 | 0.4262 | 104.2 | 191.8 | 308.9 | 13.6209 | 25.0719 | 40.3791
|  | -5.1364 | 1.4001e-05 | 26 | 185.1544 | 0.2685 | 77.3625 | 0.4262 | 101.4 | 185.2 | 296.7 | 13.2549 | 24.2092 | 38.7843
|  | -5.1364 | 1.4001e-05 | 27 | 179.4904 | 0.2657 | 77.3625 | 0.4262 | 99 | 179.5 | 286.4 | 12.9412 | 23.4641 | 37.4379
|  | -5.1364 | 1.4001e-05 | 28 | 174.258 | 0.2633 | 77.3625 | 0.4262 | 96.7 | 174.3 | 277 | 12.6405 | 22.7843 | 36.2092
|  | -5.1364 | 1.4001e-05 | 29 | 169.3824 | 0.2612 | 77.3625 | 0.4262 | 94.5 | 169.4 | 268.3 | 12.3529 | 22.1438 | 35.0719
|  | -5.1364 | 1.4001e-05 | 30 | 164.9548 | 0.2595 | 77.3625 | 0.4262 | 92.5 | 165 | 260.6 | 12.0915 | 21.5686 | 34.0654
|  | -5.1364 | 1.4001e-05 | 31 | 161.0661 | 0.2581 | 77.3625 | 0.4262 | 90.6 | 161.1 | 253.9 | 11.8431 | 21.0588 | 33.1895
|  | -5.1364 | 1.4001e-05 | 32 | 157.8078 | 0.257 | 77.3625 | 0.4262 | 89 | 157.8 | 248.3 | 11.634 | 20.6275 | 32.4575
Reference range data published by Bidlingmaier et al.1 (reference population of 15,014 subjects) |  |  |  | 33 | 155.2668 | 0.2563 | #N/A | #N/A | 87.8 | 155.3 | 244 | 11.4771 | 20.3007 | 31.8954
1. Bidlingmaier et al. J Clin Endocrinol Metab 2014; 99:1712–21 |  |  |  | 34 | 153.3742 | 0.2559 | #N/A | #N/A | 86.8 | 153.4 | 240.9 | 11.3464 | 20.0523 | 31.4902
|  |  |  | 35 | 151.8582 | 0.2558 | 77.3625 | 0.4262 | 85.9 | 151.9 | 238.5 | 11.2288 | 19.8562 | 31.1765
|  |  |  | 36 | 150.4335 | 0.2561 | 77.3625 | 0.4262 | 85.1 | 150.4 | 236.4 | 11.1242 | 19.6601 | 30.902
|  |  |  | 37 | 148.8145 | 0.2567 | 77.3625 | 0.4262 | 84 | 148.8 | 234.1 | 10.9804 | 19.451 | 30.6013
|  |  |  | 38 | 146.7885 | 0.2576 | 77.3625 | 0.4262 | 82.7 | 146.8 | 231.2 | 10.8105 | 19.1895 | 30.2222
|  |  |  | 39 | 144.432 | 0.2589 | 77.3625 | 0.4262 | 81.1 | 144.4 | 228 | 10.6013 | 18.8758 | 29.8039
|  |  |  | 40 | 141.8943 | 0.2604 | 77.3625 | 0.4262 | 79.4 | 141.9 | 224.5 | 10.3791 | 18.549 | 29.3464
|  |  |  | 41 | 139.3244 | 0.2622 | 77.3625 | 0.4262 | 77.6 | 139.3 | 221.1 | 10.1438 | 18.2092 | 28.902
|  |  |  | 42 | 136.8696 | 0.2643 | 77.3625 | 0.4262 | 75.8 | 136.9 | 217.9 | 9.9085 | 17.8954 | 28.4837
|  |  |  | 43 | 134.5977 | 0.2666 | 77.3625 | 0.4262 | 74.1 | 134.6 | 215.1 | 9.6863 | 17.5948 | 28.1176
|  |  |  | 44 | 132.4735 | 0.2692 | 77.3625 | 0.4262 | 72.4 | 132.5 | 212.5 | 9.4641 | 17.3203 | 27.7778
|  |  |  | 45 | 130.4551 | 0.272 | 77.3625 | 0.4262 | 70.8 | 130.5 | 210.2 | 9.2549 | 17.0588 | 27.4771
|  |  |  | 46 | 128.5116 | 0.275 | 77.3625 | 0.4262 | 69.2 | 128.5 | 208.1 | 9.0458 | 16.7974 | 27.2026
|  |  |  | 47 | 126.645 | 0.2782 | 77.3625 | 0.4262 | 67.7 | 126.6 | 206.1 | 8.8497 | 16.549 | 26.9412
|  |  |  | 48 | 124.8634 | 0.2815 | 77.3625 | 0.4262 | 66.1 | 124.9 | 204.2 | 8.6405 | 16.3268 | 26.6928
|  |  |  | 49 | 123.1915 | 0.2849 | 77.3625 | 0.4262 | 64.7 | 123.2 | 202.6 | 8.4575 | 16.1046 | 26.4837
|  |  |  | 50 | 121.7211 | 0.2885 | 77.3625 | 0.4262 | 63.3 | 121.7 | 201.3 | 8.2745 | 15.9085 | 26.3137
|  |  |  | 51 | 120.5603 | 0.2922 | 77.3625 | 0.4262 | 62.1 | 120.6 | 200.5 | 8.1176 | 15.7647 | 26.2092
|  |  |  | 52 | 119.7419 | 0.2958 | 77.3625 | 0.4262 | 61.1 | 119.7 | 200.3 | 7.9869 | 15.6471 | 26.183
|  |  |  | 53 | 118.9955 | 0.2996 | 77.3625 | 0.4262 | 60.1 | 119 | 200.2 | 7.8562 | 15.5556 | 26.1699
|  |  |  | 54 | 117.9755 | 0.3033 | 77.3625 | 0.4262 | 59 | 118 | 199.6 | 7.7124 | 15.4248 | 26.0915
|  |  |  | 55 | 116.4865 | 0.307 | 77.3625 | 0.4262 | 57.6 | 116.5 | 198.2 | 7.5294 | 15.2288 | 25.9085
|  |  |  | 56 | 114.7806 | 0.3107 | 77.3625 | 0.4262 | 56.2 | 114.8 | 196.4 | 7.3464 | 15.0065 | 25.6732
|  |  |  | 57 | 113.1927 | 0.3143 | 77.3625 | 0.4262 | 54.9 | 113.2 | 194.8 | 7.1765 | 14.7974 | 25.4641
|  |  |  | 58 | 111.9963 | 0.3179 | 77.3625 | 0.4262 | 53.8 | 112 | 193.8 | 7.0327 | 14.6405 | 25.3333
|  |  |  | 59 | 111.0103 | 0.3215 | 77.3625 | 0.4262 | 52.8 | 111 | 193.1 | 6.902 | 14.5098 | 25.2418
|  |  |  | 60 | 109.8503 | 0.325 | 77.3625 | 0.4262 | 51.7 | 109.9 | 192.1 | 6.7582 | 14.366 | 25.1111
|  |  |  | 61 | 108.2278 | 0.3284 | 77.3625 | 0.4262 | 50.5 | 108.2 | 190.3 | 6.6013 | 14.1438 | 24.8758
|  |  |  | 62 | 106.5726 | 0.3318 | 77.3625 | 0.4262 | 49.3 | 106.6 | 188.3 | 6.4444 | 13.9346 | 24.6144
|  |  |  | 63 | 105.6364 | 0.3351 | 77.3625 | 0.4262 | 48.4 | 105.6 | 187.6 | 6.3268 | 13.8039 | 24.5229
|  |  |  | 64 | 106.0046 | 0.3384 | 77.3625 | 0.4262 | 48.1 | 106 | 189.2 | 6.2876 | 13.8562 | 24.732
|  |  |  | 65 | 107.0249 | 0.3416 | 77.3625 | 0.4262 | 48.1 | 107 | 191.9 | 6.2876 | 13.9869 | 25.085
|  |  |  | 66 | 107.4902 | 0.3447 | 77.3625 | 0.4262 | 47.9 | 107.5 | 193.7 | 6.2614 | 14.0523 | 25.3203
|  |  |  | 67 | 106.6026 | 0.3478 | 77.3625 | 0.4262 | 47.1 | 106.6 | 193 | 6.1569 | 13.9346 | 25.2288
|  |  |  | 68 | 104.7878 | 0.3507 | 77.3625 | 0.4262 | 45.9 | 104.8 | 190.5 | 6 | 13.6993 | 24.902
|  |  |  | 69 | 102.6945 | 0.3536 | 77.3625 | 0.4262 | 44.6 | 102.7 | 187.5 | 5.8301 | 13.4248 | 24.5098
|  |  |  | 70 | 100.7466 | 0.3565 | 77.3625 | 0.4262 | 43.4 | 100.7 | 184.7 | 5.6732 | 13.1634 | 24.1438
|  |  |  | 71 | 98.9861 | 0.3593 | 77.3625 | 0.4262 | 42.3 | 99 | 182.3 | 5.5294 | 12.9412 | 23.8301
|  |  |  | 72 | 97.4183 | 0.362 | 77.3625 | 0.4262 | 41.3 | 97.4 | 180.1 | 5.3987 | 12.732 | 23.5425
|  |  |  | 73 | 96.0449 | 0.3647 | 77.3625 | 0.4262 | 40.4 | 96 | 178.3 | 5.281 | 12.549 | 23.3072
|  |  |  | 74 | 94.8333 | 0.3673 | 77.3625 | 0.4262 | 39.6 | 94.8 | 176.7 | 5.1765 | 12.3922 | 23.098
|  |  |  | 75 | 93.7305 | 0.3699 | 77.3625 | 0.4262 | 38.9 | 93.7 | 175.3 | 5.085 | 12.2484 | 22.915
|  |  |  | 76 | 92.6834 | 0.3724 | 77.3625 | 0.4262 | 38.1 | 92.7 | 174 | 4.9804 | 12.1176 | 22.7451
|  |  |  | 77 | 91.6387 | 0.375 | 77.3625 | 0.4262 | 37.4 | 91.6 | 172.7 | 4.8889 | 11.9739 | 22.5752
|  |  |  | 78 | 90.5583 | 0.3775 | 77.3625 | 0.4262 | 36.7 | 90.6 | 171.3 | 4.7974 | 11.8431 | 22.3922
|  |  |  | 79 | 89.4648 | 0.3799 | 77.3625 | 0.4262 | 36 | 89.5 | 169.8 | 4.7059 | 11.6993 | 22.1961
|  |  |  | 80 | 88.3959 | 0.3824 | 77.3625 | 0.4262 | 35.3 | 88.4 | 168.4 | 4.6144 | 11.5556 | 22.0131
|  |  |  | 81 | 87.3892 | 0.3848 | 77.3625 | 0.4262 | 34.7 | 87.4 | 167.1 | 4.5359 | 11.4248 | 21.8431
|  |  |  | 82 | 86.4825 | 0.3873 | 77.3625 | 0.4262 | 34.1 | 86.5 | 165.9 | 4.4575 | 11.3072 | 21.6863
|  |  |  | 83 | 85.7133 | 0.3897 | 77.3625 | 0.4262 | 33.5 | 85.7 | 165 | 4.3791 | 11.2026 | 21.5686
|  |  |  | 84 | 85.1194 | 0.392 | 77.3625 | 0.4262 | 33 | 85.1 | 164.5 | 4.3137 | 11.1242 | 21.5033
|  |  |  | 85 | 84.7384 | 0.3944 | 77.3625 | 0.4262 | 32.7 | 84.7 | 164.3 | 4.2745 | 11.0719 | 21.4771
|  |  |  | 86 | 84.608 | 0.3968 | 77.3625 | 0.4262 | 32.4 | 84.6 | 164.6 | 4.2353 | 11.0588 | 21.5163
|  |  |  | 87 | 84.766 | 0.3991 | 77.3625 | 0.4262 | 32.2 | 84.8 | 165.5 | 4.2092 | 11.085 | 21.634
|  |  |  | 88 | 85.2499 | 0.4015 | 77.3625 | 0.4262 | 32.2 | 85.2 | 167 | 4.2092 | 11.1373 | 21.8301
|  |  |  | 89 | 86.0975 | 0.4038 | 77.3625 | 0.4262 | 32.2 | 86.1 | 169.2 | 4.2092 | 11.2549 | 22.1176
|  |  |  | 90 | 87.3464 | 0.4062 | 77.3625 | 0.4262 | 32.5 | 87.3 | 172.2 | 4.2484 | 11.4118 | 22.5098
λ
[7 empty] | Male | 0.4568

## FEMALES CUMULATIVE
IGF-1 SD Tool (IDS iSYS assay)
[5 empty] | ng/mL |  | ng/mL |  | ng/mL |  |  | pmol/L
Age (yrs) | IGF1 (nmol/L) | SD-score | Percentile | Age | µ | σ | pt μ | pt σ | 2.5th | 50th | 97.5th | 2.5th | 50th | 97.5th
|  | -4.6681 | 0.00015198 | 0 | 58.5742 | 0.4662 | 58.5742 | 0.4662 | 17.9 | 58.6 | 125.6 | 2.3399 | 7.6601 | 16.4183
|  | -4.6681 | 0.00015198 | 1 | 62.3128 | 0.4589 | 58.5742 | 0.4662 | 19.5 | 62.3 | 132.3 | 2.549 | 8.1438 | 17.2941
|  | -4.6681 | 0.00015198 | 2 | 69.1965 | 0.4516 | 58.5742 | 0.4662 | 22.2 | 69.2 | 145.4 | 2.902 | 9.0458 | 19.0065
|  | -4.6681 | 0.00015198 | 3 | 78.9225 | 0.4444 | 58.5742 | 0.4662 | 25.9 | 78.9 | 164.2 | 3.3856 | 10.3137 | 21.4641
|  | -4.6681 | 0.00015198 | 4 | 91.1878 | 0.4371 | 58.5742 | 0.4662 | 30.7 | 91.2 | 187.8 | 4.0131 | 11.9216 | 24.549
|  | -4.6681 | 0.00015198 | 5 | 105.1525 | 0.4299 | 58.5742 | 0.4662 | 36.2 | 105.2 | 214.4 | 4.732 | 13.7516 | 28.0261
|  | -4.6681 | 0.00015198 | 6 | 119.136 | 0.4227 | 58.5742 | 0.4662 | 42 | 119.1 | 240.4 | 5.4902 | 15.5686 | 31.4248
|  | -4.6681 | 0.00015198 | 7 | 134.9677 | 0.4156 | 58.5742 | 0.4662 | 48.6 | 135 | 269.6 | 6.3529 | 17.6471 | 35.2418
|  | -4.6681 | 0.00015198 | 8 | 154.3755 | 0.4085 | 58.5742 | 0.4662 | 56.9 | 154.4 | 305.3 | 7.4379 | 20.183 | 39.9085
|  | -4.6681 | 0.00015198 | 9 | 178.4732 | 0.4015 | 58.5742 | 0.4662 | 67.2 | 178.5 | 349.4 | 8.7843 | 23.3333 | 45.6732
|  | -4.6681 | 0.00015198 | 10 | 206.5732 | 0.3945 | 58.5742 | 0.4662 | 79.5 | 206.6 | 400.3 | 10.3922 | 27.0065 | 52.3268
|  | -4.6681 | 0.00015198 | 11 | 235.8698 | 0.3877 | 58.5742 | 0.4662 | 92.6 | 235.9 | 452.6 | 12.1046 | 30.8366 | 59.1634
|  | -4.6681 | 0.00015198 | 12 | 262.6764 | 0.3809 | 58.5742 | 0.4662 | 105.3 | 262.7 | 499.1 | 13.7647 | 34.3399 | 65.2418
|  | -4.6681 | 0.00015198 | 13 | 283.4969 | 0.3742 | 58.5742 | 0.4662 | 115.9 | 283.5 | 533.4 | 15.1503 | 37.0588 | 69.7255
|  | -4.6681 | 0.00015198 | 14 | 296.2184 | 0.3677 | 58.5742 | 0.4662 | 123.4 | 296.2 | 552 | 16.1307 | 38.719 | 72.1569
|  | -4.6681 | 0.00015198 | 15 | 300.1497 | 0.3614 | 58.5742 | 0.4662 | 127.4 | 300.1 | 554.2 | 16.6536 | 39.2288 | 72.4444
|  | -4.6681 | 0.00015198 | 16 | 295.9452 | 0.3553 | 58.5742 | 0.4662 | 127.9 | 295.9 | 541.5 | 16.719 | 38.6797 | 70.7843
|  | -4.6681 | 0.00015198 | 17 | 285.1932 | 0.3495 | 58.5742 | 0.4662 | 125.3 | 285.2 | 517.3 | 16.3791 | 37.281 | 67.6209
|  | -4.6681 | 0.00015198 | 18 | 270.0078 | 0.344 | 58.5742 | 0.4662 | 120.5 | 270 | 485.8 | 15.7516 | 35.2941 | 63.5033
|  | -4.6681 | 0.00015198 | 19 | 252.5661 | 0.3387 | 58.5742 | 0.4662 | 114.4 | 252.6 | 450.8 | 14.9542 | 33.0196 | 58.9281
|  | -4.6681 | 0.00015198 | 20 | 234.7593 | 0.3338 | 58.5742 | 0.4662 | 107.8 | 234.8 | 416 | 14.0915 | 30.6928 | 54.3791
|  | -4.6681 | 0.00015198 | 21 | 217.8054 | 0.3293 | 58.5742 | 0.4662 | 101.3 | 217.8 | 383.3 | 13.2418 | 28.4706 | 50.1046
|  | -4.6681 | 0.00015198 | 22 | 202.7542 | 0.325 | 58.5742 | 0.4662 | 95.4 | 202.8 | 354.5 | 12.4706 | 26.5098 | 46.3399
|  | -4.6681 | 0.00015198 | 23 | 190.3365 | 0.3211 | 58.5742 | 0.4662 | 90.6 | 190.3 | 330.8 | 11.8431 | 24.8758 | 43.2418
|  | -4.6681 | 0.00015198 | 24 | 180.3341 | 0.3175 | 58.5742 | 0.4662 | 86.7 | 180.3 | 311.7 | 11.3333 | 23.5686 | 40.7451
|  | -4.6681 | 0.00015198 | 25 | 172.353 | 0.3142 | 58.5742 | 0.4662 | 83.6 | 172.4 | 296.4 | 10.9281 | 22.5359 | 38.7451
|  | -4.6681 | 0.00015198 | 26 | 165.9996 | 0.3112 | 58.5742 | 0.4662 | 81.1 | 166 | 284.2 | 10.6013 | 21.6993 | 37.1503
|  | -4.6681 | 0.00015198 | 27 | 160.88 | 0.3085 | 58.5742 | 0.4662 | 79.2 | 160.9 | 274.3 | 10.3529 | 21.0327 | 35.8562
|  | -4.6681 | 0.00015198 | 28 | 156.6262 | 0.3061 | 58.5742 | 0.4662 | 77.6 | 156.6 | 266.1 | 10.1438 | 20.4706 | 34.7843
|  | -4.6681 | 0.00015198 | 29 | 153.0603 | 0.304 | 58.5742 | 0.4662 | 76.3 | 153.1 | 259.2 | 9.9739 | 20.0131 | 33.8824
|  | -4.6681 | 0.00015198 | 30 | 150.0895 | 0.3022 | 58.5742 | 0.4662 | 75.2 | 150.1 | 253.4 | 9.8301 | 19.6209 | 33.1242
|  | -4.6681 | 0.00015198 | 31 | 147.6216 | 0.3007 | 58.5742 | 0.4662 | 74.2 | 147.6 | 248.7 | 9.6993 | 19.2941 | 32.5098
|  | -4.6681 | 0.00015198 | 32 | 145.5642 | 0.2994 | 58.5742 | 0.4662 | 73.5 | 145.6 | 244.7 | 9.6078 | 19.0327 | 31.9869
Reference range data published by Bidlingmaier et al.1 (reference population of 15,014 subjects) |  |  |  | 33 | 143.824 | 0.2983 | #N/A | #N/A | 72.8 | 143.8 | 241.4 | 9.5163 | 18.7974 | 31.5556
1. Bidlingmaier et al. J Clin Endocrinol Metab 2014; 99:1712–21 |  |  |  | 34 | 142.2694 | 0.2975 | #N/A | #N/A | 72.2 | 142.3 | 238.5 | 9.4379 | 18.6013 | 31.1765
|  |  |  | 35 | 140.719 | 0.2969 | 58.5742 | 0.4662 | 71.5 | 140.7 | 235.7 | 9.3464 | 18.3922 | 30.8105
|  |  |  | 36 | 138.9879 | 0.2966 | 58.5742 | 0.4662 | 70.7 | 139 | 232.7 | 9.2418 | 18.1699 | 30.4183
|  |  |  | 37 | 136.8914 | 0.2964 | 58.5742 | 0.4662 | 69.6 | 136.9 | 229.1 | 9.098 | 17.8954 | 29.9477
|  |  |  | 38 | 134.283 | 0.2965 | 58.5742 | 0.4662 | 68.3 | 134.3 | 224.7 | 8.9281 | 17.5556 | 29.3725
|  |  |  | 39 | 131.2994 | 0.2967 | 58.5742 | 0.4662 | 66.7 | 131.3 | 219.8 | 8.719 | 17.1634 | 28.732
|  |  |  | 40 | 128.2041 | 0.2971 | 58.5742 | 0.4662 | 65.1 | 128.2 | 214.8 | 8.5098 | 16.7582 | 28.0784
|  |  |  | 41 | 125.2615 | 0.2978 | 58.5742 | 0.4662 | 63.5 | 125.3 | 210.1 | 8.3007 | 16.3791 | 27.4641
|  |  |  | 42 | 122.7313 | 0.2986 | 58.5742 | 0.4662 | 62.1 | 122.7 | 206.1 | 8.1176 | 16.0392 | 26.9412
|  |  |  | 43 | 120.7066 | 0.2995 | 58.5742 | 0.4662 | 60.9 | 120.7 | 203 | 7.9608 | 15.7778 | 26.5359
|  |  |  | 44 | 119.0635 | 0.3007 | 58.5742 | 0.4662 | 59.9 | 119.1 | 200.6 | 7.8301 | 15.5686 | 26.2222
|  |  |  | 45 | 117.664 | 0.302 | 58.5742 | 0.4662 | 59 | 117.7 | 198.6 | 7.7124 | 15.3856 | 25.9608
|  |  |  | 46 | 116.3715 | 0.3035 | 58.5742 | 0.4662 | 58.1 | 116.4 | 196.9 | 7.5948 | 15.2157 | 25.7386
|  |  |  | 47 | 115.1267 | 0.3051 | 58.5742 | 0.4662 | 57.2 | 115.1 | 195.3 | 7.4771 | 15.0458 | 25.5294
|  |  |  | 48 | 113.9699 | 0.3068 | 58.5742 | 0.4662 | 56.4 | 114 | 193.8 | 7.3725 | 14.902 | 25.3333
|  |  |  | 49 | 112.9479 | 0.3087 | 58.5742 | 0.4662 | 55.6 | 112.9 | 192.6 | 7.268 | 14.7582 | 25.1765
|  |  |  | 50 | 112.1062 | 0.3108 | 58.5742 | 0.4662 | 54.9 | 112.1 | 191.8 | 7.1765 | 14.6536 | 25.0719
|  |  |  | 51 | 111.3735 | 0.3129 | 58.5742 | 0.4662 | 54.2 | 111.4 | 191.2 | 7.085 | 14.5621 | 24.9935
|  |  |  | 52 | 110.4809 | 0.3152 | 58.5742 | 0.4662 | 53.4 | 110.5 | 190.3 | 6.9804 | 14.4444 | 24.8758
|  |  |  | 53 | 109.14 | 0.3175 | 58.5742 | 0.4662 | 52.4 | 109.1 | 188.7 | 6.8497 | 14.2614 | 24.6667
|  |  |  | 54 | 107.0715 | 0.3199 | 58.5742 | 0.4662 | 51.1 | 107.1 | 185.8 | 6.6797 | 14 | 24.2876
|  |  |  | 55 | 104.339 | 0.3224 | 58.5742 | 0.4662 | 49.5 | 104.3 | 181.7 | 6.4706 | 13.634 | 23.7516
|  |  |  | 56 | 101.4518 | 0.325 | 58.5742 | 0.4662 | 47.7 | 101.5 | 177.4 | 6.2353 | 13.268 | 23.1895
|  |  |  | 57 | 98.949 | 0.3276 | 58.5742 | 0.4662 | 46.2 | 98.9 | 173.7 | 6.0392 | 12.9281 | 22.7059
|  |  |  | 58 | 97.3475 | 0.3303 | 58.5742 | 0.4662 | 45.2 | 97.3 | 171.6 | 5.9085 | 12.719 | 22.4314
|  |  |  | 59 | 96.6555 | 0.3329 | 58.5742 | 0.4662 | 44.5 | 96.7 | 171 | 5.817 | 12.6405 | 22.3529
|  |  |  | 60 | 96.3725 | 0.3357 | 58.5742 | 0.4662 | 44 | 96.4 | 171.2 | 5.7516 | 12.6013 | 22.3791
|  |  |  | 61 | 95.9758 | 0.3384 | 58.5742 | 0.4662 | 43.5 | 96 | 171.2 | 5.6863 | 12.549 | 22.3791
|  |  |  | 62 | 94.9536 | 0.3411 | 58.5742 | 0.4662 | 42.7 | 95 | 170.1 | 5.5817 | 12.4183 | 22.2353
|  |  |  | 63 | 93.2232 | 0.3438 | 58.5742 | 0.4662 | 41.6 | 93.2 | 167.7 | 5.4379 | 12.183 | 21.9216
|  |  |  | 64 | 91.2588 | 0.3466 | 58.5742 | 0.4662 | 40.4 | 91.3 | 164.8 | 5.281 | 11.9346 | 21.5425
|  |  |  | 65 | 89.5719 | 0.3493 | 58.5742 | 0.4662 | 39.4 | 89.6 | 162.4 | 5.1503 | 11.7124 | 21.2288
|  |  |  | 66 | 88.655 | 0.352 | 58.5742 | 0.4662 | 38.7 | 88.7 | 161.4 | 5.0588 | 11.5948 | 21.098
|  |  |  | 67 | 88.5675 | 0.3546 | 58.5742 | 0.4662 | 38.3 | 88.6 | 161.9 | 5.0065 | 11.5817 | 21.1634
|  |  |  | 68 | 88.9358 | 0.3573 | 58.5742 | 0.4662 | 38.2 | 88.9 | 163.2 | 4.9935 | 11.6209 | 21.3333
|  |  |  | 69 | 89.3673 | 0.3599 | 58.5742 | 0.4662 | 38.1 | 89.4 | 164.6 | 4.9804 | 11.6863 | 21.5163
|  |  |  | 70 | 89.481 | 0.3624 | 58.5742 | 0.4662 | 37.9 | 89.5 | 165.5 | 4.9542 | 11.6993 | 21.634
|  |  |  | 71 | 89.163 | 0.365 | 58.5742 | 0.4662 | 37.5 | 89.2 | 165.5 | 4.902 | 11.6601 | 21.634
|  |  |  | 72 | 88.5662 | 0.3675 | 58.5742 | 0.4662 | 36.9 | 88.6 | 165 | 4.8235 | 11.5817 | 21.5686
|  |  |  | 73 | 87.8554 | 0.37 | 58.5742 | 0.4662 | 36.4 | 87.9 | 164.3 | 4.7582 | 11.4902 | 21.4771
|  |  |  | 74 | 87.1952 | 0.3725 | 58.5742 | 0.4662 | 35.8 | 87.2 | 163.6 | 4.6797 | 11.3987 | 21.3856
|  |  |  | 75 | 86.746 | 0.375 | 58.5742 | 0.4662 | 35.4 | 86.7 | 163.4 | 4.6275 | 11.3333 | 21.3595
|  |  |  | 76 | 86.5684 | 0.3774 | 58.5742 | 0.4662 | 35.1 | 86.6 | 163.7 | 4.5882 | 11.3203 | 21.3987
|  |  |  | 77 | 86.6232 | 0.3799 | 58.5742 | 0.4662 | 34.8 | 86.6 | 164.3 | 4.549 | 11.3203 | 21.4771
|  |  |  | 78 | 86.8669 | 0.3823 | 58.5742 | 0.4662 | 34.7 | 86.9 | 165.4 | 4.5359 | 11.3595 | 21.6209
|  |  |  | 79 | 87.2562 | 0.3848 | 58.5742 | 0.4662 | 34.6 | 87.3 | 166.7 | 4.5229 | 11.4118 | 21.7908
|  |  |  | 80 | 87.7474 | 0.3872 | 58.5742 | 0.4662 | 34.5 | 87.7 | 168.3 | 4.5098 | 11.4641 | 22
|  |  |  | 81 | 88.2973 | 0.3897 | 58.5742 | 0.4662 | 34.5 | 88.3 | 169.9 | 4.5098 | 11.5425 | 22.2092
|  |  |  | 82 | 88.8623 | 0.3921 | 58.5742 | 0.4662 | 34.4 | 88.9 | 171.6 | 4.4967 | 11.6209 | 22.4314
|  |  |  | 83 | 89.3989 | 0.3945 | 58.5742 | 0.4662 | 34.4 | 89.4 | 173.3 | 4.4967 | 11.6863 | 22.6536
|  |  |  | 84 | 89.8636 | 0.3969 | 58.5742 | 0.4662 | 34.3 | 89.9 | 174.8 | 4.4837 | 11.7516 | 22.8497
|  |  |  | 85 | 90.2131 | 0.3994 | 58.5742 | 0.4662 | 34.2 | 90.2 | 176.1 | 4.4706 | 11.7908 | 23.0196
|  |  |  | 86 | 90.4039 | 0.4018 | 58.5742 | 0.4662 | 34 | 90.4 | 177 | 4.4444 | 11.817 | 23.1373
|  |  |  | 87 | 90.3924 | 0.4042 | 58.5742 | 0.4662 | 33.8 | 90.4 | 177.6 | 4.4183 | 11.817 | 23.2157
|  |  |  | 88 | 90.1352 | 0.4066 | 58.5742 | 0.4662 | 33.4 | 90.1 | 177.8 | 4.366 | 11.7778 | 23.2418
|  |  |  | 89 | 89.5889 | 0.4091 | 58.5742 | 0.4662 | 33 | 89.6 | 177.3 | 4.3137 | 11.7124 | 23.1765
|  |  |  | 90 | 88.71 | 0.4115 | 58.5742 | 0.4662 | 32.4 | 88.7 | 176.2 | 4.2353 | 11.5948 | 23.0327
λ
[7 empty] | FEMALE | 0.4595

## TANNER STAGE
IGF-1 SD Tool (IDS iSYS assay)
IGF-1 (nmol/L)
| Tanner | Age Range (y) | 2.5% | 25% | 50% | 75% | 97.5%
MALE
| I | 6 to 13 | 11 | 17 | 21 | 25 | 33
| II | 8 to 15 | 14 | 28 | 36 | 43 | 57
| III | 11 to 16 | 32 | 45 | 53 | 59 | 67
| IV | 12 to 17 | 29 | 48 | 57 | 64 | 76
| V | 13 to 20 | 30 | 40 | 46 | 54 | 68
FEMALE
| I | 6 to 12 | 11 | 20 | 25 | 31 | 42
| II | 9 to 14 | 15 | 25 | 32 | 42 | 59
| III | 9 to 15 | 34 | 44 | 50 | 56 | 69
| IV | 11 to 17 | 29 | 44 | 49 | 57 | 77
| V | 12 to 20 | 25 | 36 | 44 | 52 | 67
Reference range data published by Bidlingmaier et al.1 (reference population of 854 subjects for Tanner Stage ranges)
1. Bidlingmaier et al. J Clin Endocrinol Metab 2014; 99:1712–21